DRAFT #2; April 24, 2001; Staff

AN ORDINANCE AMENDING THE CODE OF ORDINANCES
OF THE TOWN OF NAGS HEAD, NORTH CAROLINA

BE IT ORDAINED by the Board of Commissioners of the Town of Nags Head, North Carolina, that the Code of Ordinances shall be amended as follows:

PART I.	That Section 22-153 Definitions of Specific Words and Terms be amended to read as follows:

STRUCTURE HIGHLIGHTING. (1) Exposed or channel neon, argon, krypton or similar gas tube lighting, not utilized as a part of permitted signage, that directs attention to a building, or structure, (2) Any unshielded light source, or light source that illuminates a translucent or opaque two or three dimensional surface, or object, that is not part of a permitted sign, that directs attention to a building or structure.

PART II.	That Section 22-254 Regulations Governing Signs and Outdoor Advertising Structures be amended to read as follows:

(5)	Window signs shall be permitted to be placed only inside a commercial building and shall not exceed twenty-five (25) percent of the glass area of the pane upon which the sign is displayed. Window signs of exposed neon, argon, krypton or similar gas tube lighting shall be permittable, provided such sign(s) shall not exceed twenty-five (25) percent of glass pane area, and shall not exceed singly, or in combination 0.15-square-foot per lineal foot of store frontage, not to exceed twenty (20) square feet of sign area for any one store.

PART III.	That Section 22-255 Outdoor Lighting, subsection (f) (1) d. be amended to read as follows:

d.	Analyses and illuminance level plans in the form of an iso foot-candle or point-by-point grid diagram drawn to a scale referenced above. The submitted grid plan shall plot lighting levels at ten-foot intervals or less. The iso foot-candle diagram shall plot foot-candles in increments of 0.5 foot-candle or less. Either plan shall clearly account for lighting levels produced by all exterior light sources. The outdoor lighting plan shall account for cumulative lighting levels of combined indoor and outdoor light sources if any wall of the proposed building meets either subsection F. 1. f. (1) or F. 1. f (2) below.

PART IV.	That Section 22-255 Outdoor Lighting, subsection (f) (1) f. 1. be amended to read as follows:

f.	In addition to the above, an indoor lighting plan that details the location, specifications, and descriptions of proposed interior light fixtures and proposed average foot-candles of interior customer areas shall be required for approval when submitted building elevations demonstrate:

1.	An interior, heated wall surface area is comprised of fifty (50) percent glass or greater, or

2.	The location of any glass area or architectural feature creates a potential for off-site glare.

PART V.	That Section 22-255 Outdoor Lighting, subsection (h) (1) a. and b. be amended to read as follows:

    - High levels of activity include, but are not limited to the following uses: automobile service station, convenience store, outdoor recreational uses, video store, attended car wash, financial institution, food store, theater, drive-in restaurant, drive-through restaurant.

    - Medium levels of activity include, but are not limited to the following uses: retail, indoor recreational use, retail shopping center, hotel, medical and health clinics, drug store, home center, child day care center, municipal complex, indoor assembly, hospital, restaurant.

PART VI.	That Section 22-255 Outdoor Lighting, subsection (h) (4) d. and e. be amended to read as follows:

d.	Supported, roofed walkways and porches may be illuminated up to twelve (12) average maintained foot-candles.

e.	When a single interior, heated wall surface area of a building is fifty (50) percent glass or greater, or interior light fixtures are visible from the property line or off-site location, the following requirements shall apply:

      - Interior light fixtures shall be fully shielded or shielded to any cut-off angle required to prevent line of sight contact with the light source, lens or opening.

      - Average interior illumination level shall be the minimum average IESNA recommended level of illumination for that particular use.

PART VII.	That Section 22-255 Outdoor Lighting, subsection (i) (1) be amended to read as follows:

(i)	Measurements.

(1)	Lighting levels shall be measured in foot-candles with a direct-reading, portable light meter. The meter shall have a color and cosine-corrected sensor with multiple scales and shall read within an accuracy of plus or minus seven (7) percent. It shall have been tested, calibrated, and certified by an independent commercial photometric laboratory or the manufacturer within one year of the date of its use.

PART VIII.	All ordinances or parts of ordinances in conflict with this ordinance are hereby repealed.

PART IX.	This ordinance shall be in full force and effect from and after the ____ day of _____________, 2001.

Robert W. Muller, Mayor

# ATTEST:

# Town Clerk

APPROVED AS TO FORM:

# Town Attorney

Date adopted:

Motion to adopt by Commissioner

Motion seconded by Commissioner

Vote:	AYES	NAYS